## Cover Page
Add company logo
Version 20.1
Add photo
Notes:
This template may require adjustments by individual operators to meet specific reporting requirements as defined in the site Permit(s)
Annual Performance Report 2020
Permit EPR/XP3935TX/V004
Severn Waste Services Limited
EnviRecover
Year: | 2020
Address: | Hartlebury Trading Estate, Hartlebury, Kidderminster DY10 4JD
Tel: | 01905 761680
Email: | enquiries@severnwaste.co.uk
Prepared by: | Sandy Edge |  | Position: | Environmental Technician
Approved by: | Paddy Kelly |  | Position: | General Manager EnviRecover
Version: | 1
Issue Date: | 2021-01-20
Print Report
Print as PDF

## Contents
Annual Performance Report 2020 |  |  | Severn Waste Services Limited
Contents |  |  |  |  | Notes:
Section | Subject |  |  | Page | Section references and Page nos. to be inserted
1 | Facility Information |  |  | 4 | Sections and Subjects may require adjustment by individual operators to meet specific reporting requirements as defined in the sites Permit(s)
2 | Operational Data |  |  | 5
3 | Operational Summary |  |  | 7
4 | Performance Form 1 |  |  | 8
5 | Energy Form 1 |  |  | 9
6 | Permit Compliance |  |  | 10
7 | Improvements |  |  | 11
8 | Public Liasion |  |  | 12
9 | Residue Quality - Optional |  |  | 13
10 | Emissions to Water |  |  | 14
11 | Emissions to Air (periodically monitored) |  |  | 15
12 | Emissions to Air (continuously monitored) |  |  | 16
13 | Hydrogen Chloride emissions |  |  | 17
14 | Sulphur Dioxdie emsissions |  |  | 18
15 | Oxides of Notrigen emissions |  |  | 19
16 | Total Organic Carbon emissions |  |  | 20
17 | Particulate Matter emissions |  |  | 21
18 | Carbon Monoxide emissions |  |  | 22
19 | Ammonia emissions |  |  | 23
Version Control
Section | Information |  |  | Date
Distribution
Copy | Name, Role |  |  | No.
This report is required under the Industrial Emissions Directive’s Article 55(2) requirements on reporting and public information on waste incineration plants and co-incineration plants, which require the operator to produce an annual report on the functioning and monitoring of the plant and make it available to the public.
2021-01-19

## Facility Info
Annual Performance Report 2020 | Severn Waste Services Limited
Plant Description and Design |  | Notes:
EnviRecover Energy from Waste facility is situated on the Hartlebury Trading Estate, some 2 km south east of Hartlebury. The main purpose of the facility is to burn non-hazardous municipal, commercial and industrial waste and to recover energy by producing steam. The steam is then used to power a steam turbo generator which produces electricity for export to the grid. Typical hourly electrical export averaged over the year is 17.7MWh. There is also the capability for further heat export to local consumers, although there is currently no local demand for this outlet. The plant is designed to process 230,000 tonnes of waste per annum during 8,760 hours of operation. |  | Include summary of plant design, design capacity, no. of combustion lines, electrical and heat capacity and any other general information that descibes the facility, its location and purpose
Summary of Operational Processes and Procedures
The incoming waste is loaded into the furnace via a feed hopper from the reception hall, where the waste vehicles deposit their loads into the storage bunker. After entering the combustion chamber via the refuse feed ram the waste is allowed to fall onto the grate in a controlled manner. The moving grate mechanisms are used to agitate the waste as it progresses down to the ash discharger. As the waste moves along, primary air is introduced from beneath the grate causing the waste to go through a series of drying and burning areas. Secondary air is introduced from above the grate for combustion control. An auxiliary oil fired burner is located in the combustion chamber to both establish minimum temperature on start up and to maintain the combustion gas temperature at a minimum of 850°C for 2 seconds in the combustion chamber before passing to the boiler, economiser and abatement plant. The furnace is equipped with a water tube boiler raising steam at 60 bar and 415°C. An economiser is fitted downstream of the boiler unit to pre-heat the incoming feed water. The furnace is fitted with aqueous ammonia injection system in order to reduce the facility’s emissions of NOx to air through selective non-catalytic reduction. A dry hydrated lime flue gas treatment system is used to neutralise acid flue gases with the injection of lime reagent into the reaction chamber. Activated carbon is injected into the flue gas stream in order to reduce the concentrations of heavy metals and dioxins in the combustion gases emitted to air. Bag filtration is used to separate out the resulting particulate matter from the cooled and treated gases. The facility has a 75 m stack equipped with a Continuous Emission Monitoring System (CEMS) which continuously monitor for particulates, carbon monoxide (CO), sulphur dioxide (SO2), ammonia (NH3), hydrogen chloride (HCl), oxygen (O2), nitrogen oxides (NOx) and volatile organic compounds (VOC). There is no discharge of process liquids to controlled waters. Uncontaminated surface and roof waters are discharged to the surface water drainage system via a series of interceptors, attenuation lagoons and isolation valves. Bottom ash from the incinerator grate is quenched with water and then conveyed via a metals extraction system to a concrete storage area prior to removal from site. Air pollution control residues from the bag filter systems are collected continuously and stored in a dedicated silo prior to removal from the site. |  | Include summary of key processes and procedures such as (but not limited to); waste reception, control rooms, grate, bed and bolier, energy & heat generation, cooling systems, residue management, emission controls, health and safety systems, maintenance

## Operational Data
Annual Performance Report 2020 |  |  |  | Severn Waste Services Limited
Operational Data | [8 empty] | Notes:
Plant Size | 230000 |  | tonnes pa | 68 | MWth | 22 | MWe |  | * - RDF to include SRF
No. of combustion lines | 1 |  | No. of Turbines: |  | 1 |  |  |  | ** - CHP plants only
2020 updates include; heat in MWh, water in Litres, NCV in MJ/kg
Waste types received | Unit | Q1 | Q2 | Q3 | Q4 | Year Total | %
Household / Local Authority | tonnes | 46069 | 46440.82 | 38595.98 | 45050.3 | 176156.1 | 81.64% |  | Availabiity Definition: 'the availability of a line is to be calculated by the number of hours the line reported Continuously Monitored emission levels to the Regulator through the calendar year divided by the total number of hours in that year. The overall plant availability is calculated as the Mean of all lines in the plant. For clarity this includes periods of Other Than Normal Operating Conditions (OTNOC) and abnormal operation.' Rationale: The primary function of an Energy from Waste facility is the disposal of waste. It follows therefore that the availability of a plant is determined by the period of time a facility spends undertaking this activity.
Commercial & Industrial |  | 9221.82 | 8572.26 | 10595.71 | 11218.56 | 39608.35 | 18.36%
Hazardous | [5 empty] | 0 | -
Clinical | [5 empty] | 0 | -
Waste wood (biomass) | [5 empty] | 0 | -
Refuse Derived Fuel * - H'hold/LA | [5 empty] | 0 | -
Refuse Derived Fuel * - C&I | [5 empty] | 0 | -
Other [Please specify] | [5 empty] | 0 | -
Other [Please specify]
Other [Please specify]
Total waste received |  | 55290.82 | 55013.08 | 49191.69 | 56268.86 | 215764.45 | 100%
Total waste combusted |  | 55986.8 | 55167.4 | 44740.2 | 57249.1 | 213143.5
Rejected Waste |  |  |  |  | 0 | 0 | -
Unprocessed waste transferred out | [5 empty] | 0 | -
Energy Useage / Export | Unit | Q1 | Q2 | Q3 | Q4 | Year Total | KWh/te
Power Generated | MWh | 42397 | 41212 | 34140 | 44315 | 162064 | 760.3516
Power Exported |  | 36848.7 | 36226 | 30072 | 39097 | 142243.7 | 667.3612
Power Used on site |  | 5548.31 | 4985.98 | 4068 | 5042.36 | 19644.65 | 92.1663
Power Imported |  | 131.2 | 49.1 | 193.7 | 59 | 433 | 2.0315
Parasitic Load | % | 13.35% | 12.2% | 12.41% | 11.89% | 12.46%
Thermal Energy Produced ** | MWh |  |  |  |  | 0 | -
Thermal Energy Exported ** | [5 empty] | 0 | -
R1 value |  | 0.77 |  |  |  | Operational
Waste Disposal & Recovery | Unit | Q1 | Q2 | Q3 | Q4 | Year Total | % inputs
APC Residues - produced | tonnes | 1667 | 1562 | 1365 | 1719 | 6313 | 2.962%
IBA - produced |  | 10956 | 12471 | 9857 | 11484 | 44768 | 21%
Metals recycling |  | 816 | 0 | 614 | 1062 | 2492 | 1.169%
Other (tiles) |  | 0 | 0 | 14.82 | 0 | 14.82 | 0.006953%
Other (non-conforming waste) |  | 0 | 0 | 0 | 7.56 | 7.56 | 0.003547%
Other |  | 0 | 0 | 0 | 0 | 0 | -
Raw Material Usage | Unit | Q1 | Q2 | Q3 | Q4 | Year Total | kg or Ltr /te
Mains Water | ltrs | 8930 | 9876 | 9602 | 8898 | 37306 | 0.17503
Other Water | ltrs |  |  |  |  | 0 | -
Ammonia | kgs | 1637.41 | 2535.91 | 2236.5 | 811.97 | 7221.79 | 0.033882
Urea | kgs |  |  |  |  | 0 | -
Activated Carbon | kgs | 10740 | 14520 | 11180 | 14320 | 50760 | 0.23815
Lime / hydrated lime | kgs | 597210 | 572480 | 566630 | 634030 | 2370350 | 11.1209
Fuel oil | ltrs | 60732.34 | 59204.37 | 93451.25 | 100445 | 313832.96 | 1.4724
Gas | cf | 0 | 0 | 0 | 0 | 0
Other |  | 0 | 0 | 0 | 0 | 0
Summary | Line/Unit | Q1 | Q2 | Q3 | Q4 | Year Total |  | Hrs in year
Availability of waste combustion by line, hrs | 1 | 2059 | 2129 | 1720 | 2146.5 | 8054.5 | 91.95% | 8760
| 2 |  |  |  |  | 0 | n/a
| 3 |  |  |  |  | 0 | n/a
| 4 |  |  |  |  | 0 | n/a
| 5 |  |  |  |  | 0 | n/a
Overall Availability, mean avg. of all lines, hrs | [5 empty] | 8054.5 | 91.95%
Hours of turbine operations, hrs | 1 | 2053 | 2135 | 1704 | 2156 | 8048 | 91.87%
Hours of turbine operations, hrs | 2 |  |  |  |  | 0 | n/a
Hours of heat / steam export | [5 empty] | 0 | n/a
Net Calorific Value of waste | MJ/kg | 9.4 | 9.4 | 9.76 | 9.6 |  | -
Abnormal Events | qty. | 0 | 0 | 1 | 0 | 1 | yes
Abnormal operation | hours | 0 | 0 | 4 | 0 | 4 | 0.04566%
Permit Breaches | qty. | 0 | 0 | 0 | 0 | 0 | no

## Operational Summary
Annual Performance Report 2020 |  | Severn Waste Services Limited
Summary of Plant Operations and Maintenance during the reporting year |  |  | Notes:
The boiler recorded 8,055 operational hours in 2020 and the turbo generator was operational for 8,048 hours. The remaining hours of the year were allocated to; - the scheduled, annual maintenance shutdown to allow for internal inspections, tests and repairs. - a series of shutdowns as part of the effort to resolve an historical noise complaint. - a small number of unscheduled shutdowns related to either the facility's warranty programme or to minor operational disruptions. |  |  | Include summary of key operational and/or mainteanance activity undertaken in the year, such as any major component upgrades and/or replacements
Summary of Residue Handling for the reporting year
Incinerator Bottom Ash (IBA) produced at EnviRecover is stockpiled at another facility operated by Severn Waste Services. This stockpile is processed by a third party on an annual basis to recover metals and produce aggregate. Air Pollution Control residues (APCr) are collected by road tanker, loaded directly from the APCr silo. The APCr is processed by OCO Technologies Ltd to produce carbon-negative aggregates suitable for construction purposes. |  |  | Include in here a summary of residue handling regimes and destinations
2021-01-19

## Perf. Form 1
2020 | Annual Reporting Performance Form 1
Permit EPR/XP3935TX/V004 |  |  |  |  | Operator: | Severn Waste Services Limited
Facility: | Severn Waste Services Limited |  |  |  | Form: | Performance 1
Reporting Period from: |  |  | 2020-01-01 |  | to: | 2020-12-31
2020 | Annual Reporting of Waste Disposal and Recovery
Waste Description |  | Disposal Route(s) |  | Disposal Tonnes |  | Recovery Tonnes |  | % / tonne of waste incinerated
1) Hazardous Wastes
APC Residues |  |  |  | 0 |  | 6313 |  | 2.962%
IBA |  |  |  | 0 |  | 0 |  | -
-
-
Total Hazardous Waste |  |  |  | 0 |  | 6313 |  | 2.962%
2) Non-Hazardous Wastes
IBA | [5 empty] | 44767 |  | 21%
Ferrous Metal | [5 empty] | 2476 |  | 1.162%
Process Water | [5 empty] | 0 |  | -
-
-
Total Non-Hazardous Waste |  |  |  | 0 |  | 47243 |  | 22.16%
TOTAL WASTE |  |  |  | 0 |  | 53556 |  | 25.13%
Operator’s comments :
2020 | Annual Reporting of Water and Other Raw Material Usage
Raw Material |  |  |  | Usage |  | Unit | Specific Useage |  | Unit
Mains Water |  |  |  | 37306 |  | m3 | 0.17503 |  | m3/te
Total Water |  |  |  | 37306 |  | m3 | 0.17503 |  | m3/te
Urea / Ammonia |  |  |  | 7221.79 |  | kg | 0.033882 |  | kg/te
Activated Carbon |  |  |  | 50760 |  | kg | 0.23815 |  | kg/te
Lime / hydrated lime / Sodium Bicarb. |  |  |  | 2370350 |  | kg | 11.1209 |  | kg/te
Operator’s comments :
2020 | Annual Reporting of other performance indicators
Parameter |  | Results by Line
|  | A1 | A2 | A3 | A4 | A5 |  | Turbine 1 | Turbine 2
Operating hours for the year, hours |  | 8055
Number of periods of abnormal operation, qty. |  | 1
Cumulative hours of abnormal operation for this year, hours |  | 4
Operator’s comments :
Signed: | [5 empty] | Date:

## Energy Form 1
2020 | Annual Reporting of Energy Usage/Export
Permit EPR/XP3935TX/V004 |  |  |  | Operator: | Severn Waste Services Limited
Facility: | Severn Waste Services Limited |  |  | Form: | Energy 1
Reporting Period from: |  |  | 2020-01-01 | to: | 2020-12-31
Energy Source |  |  | Energy Usage | Unit | Specific Useage (KWh/tonne incinerated
Electricity Produced |  |  | 162064 | MWh | 760.3516
Electricity Imported |  |  | 433 | MWh | 2.0315
Electricity Exported |  |  | 142243.7 | MWh | 667.3612
Gas Oil |  |  | 313.8 | tonnes | -
Steam/hot water exported |  |  | 0 | GWh | -
Operator’s comments :
Signed: |  |  |  |  | Date:
2021-01-19

## Permit Compliance
Annual Performance Report 2020 |  |  | Severn Waste Services Limited
Summary of Permit Compliance
Compliance with permit limits for continuously monitored pollutants
The plant met its emission limits as shown in the table below:
Substance |  | Percentage time compliant during operation |  |  |  | Notes:
|  | Half-hourly limit |  | Daily limit |  | Report to 2 decimal places, i.e. xx.xx% Please provide a brief summary of each notification or non-compliance in the table (rather than just referring to notifications that were sent to the Regulator).
Particulates |  | 100% |  | 100%
Oxides of nitrogen |  | 100% |  | 100%
Sulphur dioxide |  | 100% |  | 100%
Carbon monoxide |  | 100% (95% of 10-min averages) |  | 100%
Total organic carbon |  | 100% |  | 100%
Hydrogen chloride |  | 100% |  | 100%
Hydrogen fluoride |  | 100% |  | 100%
|  | 100% |  | 100%
Summary of any notifications or non-compliances under the permit
Date | Summary of notification or non-compliance [including Line/Reference] |  | Reason |  | Measures taken to prevent reoccurrence
None
Summary of any complaints received and actions to taken to resolve them.
Date | Summary of complaint [including Line/Reference] |  | Reason * |  | Measures taken to prevent reoccurrence
N/A | Ongoing communication with local residents in relation to a complaint originally reported in 2019 |  | Noise complaint (low frequency nuisance tone) |  | See section 7 for details of succesful noise reduction.
* including whether substantiated by the operator or the EA
2021-01-19

## Improvements
Annual Performance Report 2020 |  | Severn Waste Services Limited
Summary of Plant Improvements
Summary of any efficiency improvements that have been completed within the year.
Operational improvements made to the combustion control parameters have led to improved NOx control and reduced reagent consumption.
Summary of any permit improvement conditions that have been completed within the year and the resulting environmental benefits.
None
Summary of any changes to the plant or operating techniques which required a variation to the permit and a summary of the resulting environmental impact.
None
Summary of any other improvements made to the plant or planned to be made and a summary of the resulting environmental benefits.
An additional silencer has been installed in the stack. This silencer was designed to eliminate a low frequency nuisance tone which was affecting a small number of residential properties approximately 800 meters to the north east of the faility. The silencer was installed in October, and is working as designed. All residents have confirmed that the nuisance tone has been eliminated.
2021-01-19

## Public Liasion
Annual Performance Report 2020 |  | Severn Waste Services Limited
Details of Public & Stakeholder Liasion
Summary of events held during the reporting year.
Date | Description
2020-10-24 | Community Liaison Group. The scheduling of this meeting was affected by the covid-19 pandemic.
List of events planned for next year
Date | Description
2021-02-22 | Community Liaison Group. This date is likely to be postponed if the current covid-19 lockdown continues.
If you wish to be involved in the public liasion programme, please contact your local Parish Councillor
2021-01-19

## Residue Quality
Annual Performance Report 2020 |  |  | Severn Waste Services Limited
Residue Quality Monitoring Requirements
Summary of monitoring undertaken and compliance
The sampling and analysis of IBA and APCr has been completed and reported at the required frequency. There were 24 IBA samples sumbitted for analysis and 4 APCr samples during the year. The laboratory results are reviewed and discussed during management meetings on a monthly basis. The results have shown that our IBA is consistant in composition and all samples submitted were found to be non-hazardous. The APCr results also demonstrate consistancy and the perameters analysed are at levels which would be condidered typical for EfW.
Commentary on any specific events
Date & Event | Description
None
Residue Quality Monitoring Results
Parameter (unit) | Limit | Normal Operation
|  | Bottom ash |  | APC Residues
Loss on Ignition (average %) | <5% | 2.6
Total Organic Carbon (average %) | <3% | 1
No. of Assessments Undertaken | --- | 24 |  | 4
No. of Hazardous Results | --- | 0
Comments :
2021-01-19

## Water
Annual Performance Report 2020 |  |  | Severn Waste Services Limited
Emissions to Water
Summary of monitoring undertaken and compliance
There are no emissions to water.
Commentary on any specific events
Date & Event | Description
Emissions to Water / Sewer
Parameter |  | Monitoring Frequency |  | Limit | Target | Max. | Average
2021-01-19

## Air (periodic)
Annual Performance Report 2020 |  |  | Severn Waste Services Limited
Emissions to Air (periodically monitored)
Summary of monitoring undertaken, standards used and compliance | [8 empty] | Notes:
Periodic monitoring has been carried out to the frequency, standard and reference periods specified in EnviRecover's Environmental Permit. | [8 empty] | Template may require adjustment for any bespoke monitoring requirements of permit.
Results of emissions to air that are periodically monitored
Substance | Ref. Period | Emission Limit Value |  | Average |  |  |  |  | User to add additional tables as necessary, depending on whether quarterly or bi-annual reporting is required for the compliance year
|  |  |  | A1 | A2 | A3 | A4 | A5
Hydrogen fluoride | 1 hr | 2 mg/m3 |  | 0.06
Cd and Th and their compounds | 6-8hrs | 0.05 mg/m3 |  | 0.001
Hg and its compounds | 6-8hrs | 0.05 mg/m3 |  | 0.004
Sb, As, Pb, Cr, Co, Cu, Mn, Ni, V and their compounds | 6-8hrs | 0.5 mg/m3 |  | 0.07
Dioxins & Furans (I-TEQ) | 6-8hrs | 0.1 ng/m3 |  | 0.01
PCBs (WHO-TEQ Humans / Mammals) | 6-8hrs | None set ng/m3 |  | 0.002
PCBs (WHO-TEQ Fish) | 6-8hrs | None set ng/m3 |  | 0.0005
PCBs (WHO-TEQ Birds) | 6-8hrs | None set ng/m3 |  | 0.004
Dioxins & Furans (WHO-TEQ Humans / Mammals) | 6-8hrs | None set ng/m3 |  | 0.01
Dioxins & Furans (WHO-TEQ Fish) | 6-8hrs | None set ng/m3 |  | 0.01
Dioxins & Furans (WHO-TEQ Birds) | 6-8hrs | None set ng/m3 |  | 0.02
Anthanthrene | 6-8hrs | None set µg/m3 |  | 0.02
Benzo(a)anthracene | 6-8hrs | None set µg/m3 |  | 0.13
Benzo(a)pyrene | 6-8hrs | None set µg/m3 |  | 0.006
Benzo(b)fluoranthene | 6-8hrs | None set µg/m3 |  | 0.04
Benzo(b)naptho(2,1-d) thiophene | 6-8hrs | None set µg/m3 |  | 0.04
Benzo(c)phenanthrene | 6-8hrs | None set µg/m3 |  | 0.09
Benzo(ghi)perylene | 6-8hrs | None set µg/m3 |  | 0.006
Benzo(k)fluoranthene | 6-8hrs | None set µg/m3 |  | 0.01
Cholanthrene | 6-8hrs | None set µg/m3 |  | 0.006
Chrysene | 6-8hrs | None set µg/m3 |  | 0.15
Cyclopenta(cd)pyrene | 6-8hrs | None set µg/m3 |  | 0.006
Dibenzo(ai)pyrene | 6-8hrs | None set µg/m3 |  | 0.006
Dibenzo(ah)anthracene | 6-8hrs | None set µg/m3 |  | 0.006
Fluoranthene | 6-8hrs | None set µg/m3 |  | 0.65
Indeno(123-cd) pyrene | 6-8hrs | None set µg/m3 |  | 0.006
Naphthalene | 6-8hrs | None set µg/m3 |  | 0.57
Comments :
2021-01-19

## Air (CEMS)
Annual Performance Report 2020 | [7 empty] | Severn Waste Services Limited
Emissions to Air (continously monitored)
Notes:
Summary of monitoring undertaken, standards used and compliance | [12 empty] | Template may require adjustment for any bespoke monitoring requirements of permit
CEMs monitoring is carried out following the quality assurance procedures as stated in BS EN 14181. | [12 empty] | Report to 2 decimal places, i.e. xx.xx%
Results of emissions to air that are continuously monitored (maximum and average values for each line)
Substance | Reference Period | Emission Limit Value | A1 |  | A2 |  | A3 |  | A4 |  | A5
|  |  | Max. | Avg. | Max. | Avg. | Max. | Avg. | Max. | Avg. | Max. | Avg.
Oxides of nitrogen | Daily mean | 200 mg/m3 | 169.93 | 155.31
| ½ hourly mean | 400 mg/m3 | 203 | 155.31
Particulates | Daily mean | 10 mg/m3 | 4.49 | 0.78
| ½ hourly mean | 30 mg/m3 | 21 | 0.78
Total Organic Carbon | Daily mean | 10 mg/m3 | 1.38 | 0.13
| ½ hourly mean | 20 mg/m3 | 7 | 0.13
Hydrogen chloride | Daily mean | 10 mg/m3 | 5.01 | 3.25
| ½ hourly mean | 60 mg/m3 | 15 | 3.25
Sulphur dioxide | Daily mean | 50 mg/m3 | 19.99 | 5.85
| ½ hourly mean | 200 mg/m3 | 115 | 5.85
Carbon monoxide | Daily mean | 50 mg/m3 | 18.92 | 11.86
| 95%ile 10-min avg | 150 mg/m3 | 30 | 11.86
Ammonia | Daily mean | No limit set | 1.7 | 0.04
* = delete or amend as appropriate
Comments :
2021-01-19

## HCl
Annual Performance Report 2020 |  |  |  | Severn Waste Services Limited
Monitoring of Hydrogen Chloride emissions |  |  | Whole Installation |  |  | See Notes in Cell Q3 | Monitoring of Hydrogen Chloride emissions |  |  |  | Per Combustion Line |  | Notes:
User to add logic to complete Whole installation, Table A5:G18. From the data in Per Combustion Line, Table J6:O79, subject to No. of lines installed
mg/Nm3 | 1/2 Hourly Reference Periods |  |  | Daily Reference Periods
2020 | 1/2 hourly HCl ELV | Monthly 1/2 hourly mean | Highest 1/2 hourly maximum | Daily HCl ELV | Monthly daily mean | Highest daily maximum | 2020 | mg/Nm3 | Monthly 1/2 hourly mean | Monthly 1/2 hourly maximum | Monthly daily mean | Monthly daily maximum
Jan | 60 | 3 | 8 | 10 | 3 | 4 | A1 | Jan
Feb | 60 | 4 | 12 | 10 | 4 | 4 |  | Feb
Mar | 60 | 3 | 9 | 10 | 3 | 4 |  | Mar |  |  |  |  | Whole Installation table A5:G18:
Apr | 60 | 3 | 10 | 10 | 3 | 4 |  | Apr |  |  |  |  | Mean: for 1/2 hourly and daily periods calculate mean of values across all operational combustion lines for the month
May | 60 | 3 | 5 | 10 | 3 | 4 |  | May
Jun | 60 | 3 | 11 | 10 | 3 | 4 |  | Jun
Jul | 60 | 3 | 15 | 10 | 3 | 4 |  | Jul |  |  |  |  | Maximum: for 1/2 hourly and daily periods use the highest value across all operational combustion lines for the month
Aug | 60 | 3 | 9 | 10 | 3 | 4 |  | Aug
Sep | 60 | 3 | 9 | 10 | 3 | 4 |  | Sep
Oct | 60 | 4 | 9 | 10 | 4 | 4 |  | Oct
Nov | 60 | 4 | 8 | 10 | 4 | 4 |  | Nov
Dec | 60 | 3 | 11 | 10 | 3 | 4 |  | Dec
[8 empty] | Annual | #DIV/0! | 0 | #DIV/0! | 0
[7 empty] | 2020 | mg/Nm3 | Monthly 1/2 hourly mean | Monthly 1/2 hourly maximum | Monthly daily mean | Monthly daily maximum
[7 empty] | A2 | Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
[8 empty] | Annual | #DIV/0! | 0 | #DIV/0! | 0
[7 empty] | 2020 | mg/Nm3 | Monthly 1/2 hourly mean | Monthly 1/2 hourly maximum | Monthly daily mean | Monthly daily maximum
[7 empty] | A3 | Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Comments : | [7 empty] | Dec
[8 empty] | Annual | #DIV/0! | 0 | #DIV/0! | 0
[7 empty] | 2020 | mg/Nm3 | Monthly 1/2 hourly mean | Monthly 1/2 hourly maximum | Monthly daily mean | Monthly daily maximum
[7 empty] | A4 | Jan
|  | 2021-01-19 | [5 empty] | Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
[8 empty] | Annual | #DIV/0! | 0 | #DIV/0! | 0
[7 empty] | 2020 | mg/Nm3 | Monthly 1/2 hourly mean | Monthly 1/2 hourly maximum | Monthly daily mean | Monthly daily maximum
[7 empty] | A5 | Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
[8 empty] | Annual | #DIV/0! | 0 | #DIV/0! | 0

## SO2
Annual Performance Report 2020 |  |  |  | Severn Waste Services Limited
Monitoring of Sulphur dioxide emissions |  |  | Whole Installation |  |  | See Notes in Cell Q3 | Monitoring of Sulphur dioxide emissions |  |  |  | Per Combustion Line |  | Notes:
User to add logic to complete Whole installation, Table A5:G18. From the data in Per Combustion Line, Table J6:O79, subject to No. of lines installed
mg/Nm3 | 1/2 Hourly Reference Periods |  |  | Daily Reference Periods
2020 | 1/2 hourly SO2 ELV | Monthly 1/2 hourly mean | Highest 1/2 hourly maximum | Daily SO2 ELV | Monthly daily mean | Highest daily maximum | 2020 | mg/Nm3 | Monthly 1/2 hourly mean | Monthly 1/2 hourly maximum | Monthly daily mean | Monthly daily maximum
Jan | 200 | 5 | 46 | 50 | 5 | 9 | A1 | Jan
Feb | 200 | 6 | 103 | 50 | 6 | 9 |  | Feb
Mar | 200 | 4 | 43 | 50 | 4 | 6 |  | Mar |  |  |  |  | Whole Installation table A5:G18:
Apr | 200 | 5 | 115 | 50 | 5 | 10 |  | Apr |  |  |  |  | Mean: for 1/2 hourly and daily periods calculate mean of values across all operational combustion lines for the month
May | 200 | 4 | 25 | 50 | 4 | 6 |  | May
Jun | 200 | 5 | 70 | 50 | 5 | 9 |  | Jun
Jul | 200 | 7 | 87 | 50 | 7 | 11 |  | Jul |  |  |  |  | Maximum: for 1/2 hourly and daily periods use the highest value across all operational combustion lines for the month
Aug | 200 | 7 | 54 | 50 | 7 | 9 |  | Aug
Sep | 200 | 7 | 70 | 50 | 7 | 15 |  | Sep
Oct | 200 | 7 | 54 | 50 | 7 | 9 |  | Oct
Nov | 200 | 7 | 44 | 50 | 7 | 20 |  | Nov
Dec | 200 | 7 | 93 | 50 | 7 | 11 |  | Dec
[8 empty] | Annual | #DIV/0! | 0 | #DIV/0! | 0
[7 empty] | 2020 | mg/Nm3 | Monthly 1/2 hourly mean | Monthly 1/2 hourly maximum | Monthly daily mean | Monthly daily maximum
[7 empty] | A2 | Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
[8 empty] | Annual | #DIV/0! | 0 | #DIV/0! | 0
[7 empty] | 2020 | mg/Nm3 | Monthly 1/2 hourly mean | Monthly 1/2 hourly maximum | Monthly daily mean | Monthly daily maximum
[7 empty] | A3 | Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Comments : | [7 empty] | Dec
[8 empty] | Annual | #DIV/0! | 0 | #DIV/0! | 0
[7 empty] | 2020 | mg/Nm3 | Monthly 1/2 hourly mean | Monthly 1/2 hourly maximum | Monthly daily mean | Monthly daily maximum
[7 empty] | A4 | Jan
|  | 2021-01-19 | [5 empty] | Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
[8 empty] | Annual | #DIV/0! | 0 | #DIV/0! | 0
[7 empty] | 2020 | mg/Nm3 | Monthly 1/2 hourly mean | Monthly 1/2 hourly maximum | Monthly daily mean | Monthly daily maximum
[7 empty] | A5 | Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
[8 empty] | Annual | #DIV/0! | 0 | #DIV/0! | 0

## NOx
Annual Performance Report 2020 |  |  |  | Severn Waste Services Limited
Monitoring of Oxides of Nitrogen emissions |  |  | Whole Installation |  |  | See Notes in Cell Q3 | Monitoring of Oxides of Nitrogen emissions |  |  |  | Per Combustion Line |  | Notes:
User to add logic to complete Whole installation, Table A5:G18. From the data in Per Combustion Line, Table J6:O79, subject to No. of lines installed
mg/Nm3 | 1/2 Hourly Reference Periods |  |  | Daily Reference Periods
2020 | 1/2 hourly NOx ELV | Monthly 1/2 hourly mean | Highest 1/2 hourly maximum | Daily NOx ELV | Monthly daily mean | Highest daily maximum | 2020 | mg/Nm3 | Monthly 1/2 hourly mean | Monthly 1/2 hourly maximum | Monthly daily mean | Monthly daily maximum
Jan | 400 | 157 | 196 | 200 | 157 | 170 | A1 | Jan
Feb | 400 | 153 | 195 | 200 | 153 | 166 |  | Feb
Mar | 400 | 154 | 196 | 200 | 154 | 162 |  | Mar |  |  |  |  | Whole Installation table A5:G18:
Apr | 400 | 145 | 193 | 200 | 145 | 170 |  | Apr |  |  |  |  | Mean: for 1/2 hourly and daily periods calculate mean of values across all operational combustion lines for the month
May | 400 | 161 | 203 | 200 | 161 | 170 |  | May
Jun | 400 | 163 | 192 | 200 | 163 | 169 |  | Jun
Jul | 400 | 164 | 195 | 200 | 164 | 170 |  | Jul |  |  |  |  | Maximum: for 1/2 hourly and daily periods use the highest value across all operational combustion lines for the month
Aug | 400 | 162 | 194 | 200 | 162 | 170 |  | Aug
Sep | 400 | 154 | 197 | 200 | 154 | 169 |  | Sep
Oct | 400 | 148 | 188 | 200 | 148 | 157 |  | Oct
Nov | 400 | 151 | 186 | 200 | 151 | 160 |  | Nov
Dec | 400 | 149 | 194 | 200 | 149 | 156 |  | Dec
[8 empty] | Annual | #DIV/0! | 0 | #DIV/0! | 0
[7 empty] | 2020 | mg/Nm3 | Monthly 1/2 hourly mean | Monthly 1/2 hourly maximum | Monthly daily mean | Monthly daily maximum
[7 empty] | A2 | Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
[8 empty] | Annual | #DIV/0! | 0 | #DIV/0! | 0
[7 empty] | 2020 | mg/Nm3 | Monthly 1/2 hourly mean | Monthly 1/2 hourly maximum | Monthly daily mean | Monthly daily maximum
[7 empty] | A3 | Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Comments : | [7 empty] | Dec
[8 empty] | Annual | #DIV/0! | 0 | #DIV/0! | 0
[7 empty] | 2020 | mg/Nm3 | Monthly 1/2 hourly mean | Monthly 1/2 hourly maximum | Monthly daily mean | Monthly daily maximum
[7 empty] | A4 | Jan
|  | 2021-01-19 | [5 empty] | Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
[8 empty] | Annual | #DIV/0! | 0 | #DIV/0! | 0
[7 empty] | 2020 | mg/Nm3 | Monthly 1/2 hourly mean | Monthly 1/2 hourly maximum | Monthly daily mean | Monthly daily maximum
[7 empty] | A5 | Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
[8 empty] | Annual | #DIV/0! | 0 | #DIV/0! | 0

## TOC
Annual Performance Report 2020 |  |  |  | Severn Waste Services Limited
Monitoring of Total organic carbon emissions |  |  | Whole Installation |  |  | See Notes in Cell Q3 | Monitoring of Total organic carbon emissions |  |  |  | Per Combustion Line |  | Notes:
User to add logic to complete Whole installation, Table A5:G18. From the data in Per Combustion Line, Table J6:O79, subject to No. of lines installed
mg/Nm3 | 1/2 Hourly Reference Periods |  |  | Daily Reference Periods
2020 | 1/2 hourly TOC ELV | Monthly 1/2 hourly mean | Highest 1/2 hourly maximum | Daily TOC ELV | Monthly daily mean | Highest daily maximum | 2020 | mg/Nm3 | Monthly 1/2 hourly mean | Monthly 1/2 hourly maximum | Monthly daily mean | Monthly daily maximum
Jan | 20 | 0 | 2 | 10 | 0 | 0 | A1 | Jan
Feb | 20 | 0 | 7 | 10 | 0 | 1 |  | Feb
Mar | 20 | 0 | 2 | 10 | 0 | 0 |  | Mar |  |  |  |  | Whole Installation table A5:G18:
Apr | 20 | 0 | 7 | 10 | 0 | 0 |  | Apr |  |  |  |  | Mean: for 1/2 hourly and daily periods calculate mean of values across all operational combustion lines for the month
May | 20 | 0 | 3 | 10 | 0 | 0 |  | May
Jun | 20 | 0 | 2 | 10 | 0 | 0 |  | Jun
Jul | 20 | 0 | 3 | 10 | 0 | 0 |  | Jul |  |  |  |  | Maximum: for 1/2 hourly and daily periods use the highest value across all operational combustion lines for the month
Aug | 20 | 0 | 2 | 10 | 0 | 0 |  | Aug
Sep | 20 | 0 | 1 | 10 | 0 | 0 |  | Sep
Oct | 20 | 0 | 5 | 10 | 0 | 0 |  | Oct
Nov | 20 | 0 | 1 | 10 | 0 | 0 |  | Nov
Dec | 20 | 0 | 1 | 10 | 0 | 0 |  | Dec
[8 empty] | Annual | #DIV/0! | 0 | #DIV/0! | 0
[7 empty] | 2020 | mg/Nm3 | Monthly 1/2 hourly mean | Monthly 1/2 hourly maximum | Monthly daily mean | Monthly daily maximum
[7 empty] | A2 | Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
[8 empty] | Annual | #DIV/0! | 0 | #DIV/0! | 0
[7 empty] | 2020 | mg/Nm3 | Monthly 1/2 hourly mean | Monthly 1/2 hourly maximum | Monthly daily mean | Monthly daily maximum
[7 empty] | A3 | Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Comments : | [7 empty] | Dec
[8 empty] | Annual | #DIV/0! | 0 | #DIV/0! | 0
[7 empty] | 2020 | mg/Nm3 | Monthly 1/2 hourly mean | Monthly 1/2 hourly maximum | Monthly daily mean | Monthly daily maximum
[7 empty] | A4 | Jan
|  | 2021-01-19 | [5 empty] | Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
[8 empty] | Annual | #DIV/0! | 0 | #DIV/0! | 0
[7 empty] | 2020 | mg/Nm3 | Monthly 1/2 hourly mean | Monthly 1/2 hourly maximum | Monthly daily mean | Monthly daily maximum
[7 empty] | A5 | Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
[8 empty] | Annual | #DIV/0! | 0 | #DIV/0! | 0

## Particulates
Annual Performance Report 2020 |  |  |  | Severn Waste Services Limited
Monitoring of Particulate matter emissions |  |  | Whole Installation |  |  | See Notes in Cell Q3 | Monitoring of Particulate matter emissions |  |  |  | Per Combustion Line |  | Notes:
User to add logic to complete Whole installation, Table A5:G18. From the data in Per Combustion Line, Table J6:O79, subject to No. of lines installed
mg/Nm3 | 1/2 Hourly Reference Periods |  |  | Daily Reference Periods
2020 | 1/2 hourly PM ELV | Monthly 1/2 hourly mean | Highest 1/2 hourly maximum | Daily PM ELV | Monthly daily mean | Highest daily maximum | 2020 | mg/Nm3 | Monthly 1/2 hourly mean | Monthly 1/2 hourly maximum | Monthly daily mean | Monthly daily maximum
Jan | 30 | 1 | 2 | 10 | 1 | 1 | A1 | Jan
Feb | 30 | 1 | 4 | 10 | 1 | 1 |  | Feb
Mar | 30 | 1 | 1 | 10 | 1 | 1 |  | Mar |  |  |  |  | Whole Installation table A5:G18:
Apr | 30 | 1 | 2 | 10 | 1 | 1 |  | Apr |  |  |  |  | Mean: for 1/2 hourly and daily periods calculate mean of values across all operational combustion lines for the month
May | 30 | 1 | 21 | 10 | 1 | 1 |  | May
Jun | 30 | 1 | 1 | 10 | 1 | 1 |  | Jun
Jul | 30 | 1 | 1 | 10 | 1 | 1 |  | Jul |  |  |  |  | Maximum: for 1/2 hourly and daily periods use the highest value across all operational combustion lines for the month
Aug | 30 | 1 | 2 | 10 | 1 | 1 |  | Aug
Sep | 30 | 1 | 1 | 10 | 1 | 1 |  | Sep
Oct | 30 | 1 | 1 | 10 | 1 | 1 |  | Oct
Nov | 30 | 1 | 2 | 10 | 1 | 1 |  | Nov
Dec | 30 | 1 | 1 | 10 | 1 | 1 |  | Dec
[8 empty] | Annual | #DIV/0! | 0 | #DIV/0! | 0
[7 empty] | 2020 | mg/Nm3 | Monthly 1/2 hourly mean | Monthly 1/2 hourly maximum | Monthly daily mean | Monthly daily maximum
[7 empty] | A2 | Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
[8 empty] | Annual | #DIV/0! | 0 | #DIV/0! | 0
[7 empty] | 2020 | mg/Nm3 | Monthly 1/2 hourly mean | Monthly 1/2 hourly maximum | Monthly daily mean | Monthly daily maximum
[7 empty] | A3 | Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Comments : | [7 empty] | Dec
[8 empty] | Annual | #DIV/0! | 0 | #DIV/0! | 0
[7 empty] | 2020 | mg/Nm3 | Monthly 1/2 hourly mean | Monthly 1/2 hourly maximum | Monthly daily mean | Monthly daily maximum
[7 empty] | A4 | Jan
|  | 2021-01-19 | [5 empty] | Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
[8 empty] | Annual | #DIV/0! | 0 | #DIV/0! | 0
[7 empty] | 2020 | mg/Nm3 | Monthly 1/2 hourly mean | Monthly 1/2 hourly maximum | Monthly daily mean | Monthly daily maximum
[7 empty] | A5 | Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
[8 empty] | Annual | #DIV/0! | 0 | #DIV/0! | 0

## CO 95% 10 min
Annual Performance Report 2020 |  |  |  | Severn Waste Services Limited
Monitoring of Carbon Monoxide (10-minute avg) |  |  |  | Whole Installation |  |  | See Notes in Cell S3 | Monitoring of Carbon Monoxide (10-minute avg) |  |  |  |  | Per Combustion Line |  | Notes: | Notes:
User to add logic to complete Whole installation, Table A5:H18. From the data in Per Combustion Line, Table K6:Q79, subject to No. of lines installed
mg/Nm3 | 10-minute Reference Periods |  |  |  | Daily Reference Periods
2020 | 95%ile 10-min avg CO ELV | 95%ile 10-min avg maximum | Monthly CO 10-min avg mean | 10-min avg maximum | Daily CO ELV | Monthly daily mean | Highest daily maximum |  | 2020 | mg/Nm3 | 95%ile 10-min avg maximum | Monthly CO 10-min avg mean | 10-min avg maximum | Monthly daily mean | Monthly daily maximum
Jan | 150 | 30 | 13 | 319 | 50 | 13 | 19 |  | A1 | Jan
Feb | 150 | 20 | 12 | 205 | 50 | 12 | 16 |  |  | Feb
Mar | 150 | 21 | 14 | 218 | 50 | 14 | 17 |  |  | Mar | [5 empty] | Whole Installation table A5:H18:
Apr | 150 | 19 | 13 | 280 | 50 | 13 | 15 |  |  | Apr | [5 empty] | Mean: for 10-min and daily periods use average of all operational combustion lines.
May | 150 | 19 | 11 | 81 | 50 | 11 | 14 |  |  | May
Jun | 150 | 23 | 12 | 119 | 50 | 12 | 15 |  |  | Jun
Jul | 150 | 26 | 11 | 188 | 50 | 11 | 13 |  |  | Jul | [5 empty] | Maximum: for 10-min and daily periods use the highest of all operational combustion lines in any month.
Aug | 150 | 29 | 12 | 169 | 50 | 12 | 14 |  |  | Aug
Sep | 150 | 21 | 11 | 129 | 50 | 11 | 13 |  |  | Sep
Oct | 150 | 26 | 12 | 393 | 50 | 12 | 16 |  |  | Oct
Nov | 150 | 20 | 8 | 128 | 50 | 8 | 13 |  |  | Nov
Dec | 150 | 21 | 12 | 191 | 50 | 12 | 14 |  |  | Dec
[10 empty] | Annual | #DIV/0! |  | 0 | #DIV/0! | 0
[9 empty] | 2020 | mg/Nm3 | 95%ile 10-min avg maximum | Monthly CO 10-min avg mean | 10-min avg maximum | Monthly daily mean | Monthly daily maximum
[9 empty] | A2 | Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
[10 empty] | Annual | #DIV/0! |  | 0 | #DIV/0! | 0
[9 empty] | 2020 | mg/Nm3 | 95%ile 10-min avg maximum | Monthly CO 10-min avg mean | 10-min avg maximum | Monthly daily mean | Monthly daily maximum
[9 empty] | A3 | Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Comments : | [9 empty] | Dec
Environment Agency explanatory note: The 10-minute average ELV is based on the “95th percentile”. In this case this means that 95% of the 10 minute averages in the relevant 24-hour period (i.e. 137) must be below 150 mg/Nm3, and 5% (i.e. 7) are allowed to be any value above 150 mg/Nm3. Whilst we expect operators to minimise CO emissions at all times, it is perfectly acceptable for the value of the maximum 10-minute average to be above 150 mg/Nm3, provided the 95th percentile ELV has been met for that period. | [9 empty] | Annual | #DIV/0! |  | 0 | #DIV/0! | 0
[9 empty] | 2020 | mg/Nm3 | 95%ile 10-min avg maximum | Monthly CO 10-min avg mean | 10-min avg maximum | Monthly daily mean | Monthly daily maximum
[9 empty] | A4 | Jan
|  | 2021-01-19 | [7 empty] | Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
[10 empty] | Annual | #DIV/0! |  | 0 | #DIV/0! | 0
[9 empty] | 2020 | mg/Nm3 | 95%ile 10-min avg maximum | Monthly CO 10-min avg mean | 10-min avg maximum | Monthly daily mean | Monthly daily maximum
[9 empty] | A5 | Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
[10 empty] | Annual | #DIV/0! |  | 0 | #DIV/0! | 0

## NH3
Annual Performance Report 2020 |  |  |  | Severn Waste Services Limited
Monitoring of Ammnonia emissions |  |  | Whole Installation |  |  | See Notes in Cell Q3 | Monitoring of Ammnonia emissions |  |  |  | Per Combustion Line |  | Notes:
User to add logic to complete Whole installation, Table A5:G18. From the data in Per Combustion Line, Table J6:O79, subject to No. of lines installed
mg/Nm3 | 1/2 Hourly Reference Periods |  |  | Daily Reference Periods
2020 | 1/2 hourly NH3 ELV | Monthly 1/2 hourly mean | Highest 1/2 hourly maximum | Daily NH3 ELV | Monthly daily mean | Highest daily maximum | 2020 | mg/Nm3 | Monthly 1/2 hourly mean | Monthly 1/2 hourly maximum | Monthly daily mean | Monthly daily maximum
Jan | N/A | 0 | 1 | N/A | 0 | 0.14 | A1 | Jan
Feb | N/A | 0 | 1 | N/A | 0.07 | 0.2 |  | Feb
Mar | N/A | 0 | 0 | N/A | 0.07 | 0.09 |  | Mar |  |  |  |  | Whole Installation table A5:G18:
Apr | N/A | 0 | 11 | N/A | 0.07 | 0.07 |  | Apr |  |  |  |  | Mean: for 1/2 hourly and daily periods calculate mean of values across all operational combustion lines for the month
May | N/A | 0 | 0 | N/A | 0.06 | 0.07 |  | May
Jun | N/A | 0 | 0 | N/A | 0.05 | 0.07 |  | Jun
Jul | N/A | 0 | 0 | N/A | 0 | 0.25 |  | Jul |  |  |  |  | Maximum: for 1/2 hourly and daily periods use the highest value across all operational combustion lines for the month
Aug | N/A | 0 | 0 | N/A | 0 | 0.28 |  | Aug
Sep | N/A | 0 | 1 | N/A | 0.02 | 0.14 |  | Sep
Oct | N/A | 0 | 2 | N/A | 0.01 | 0.18 |  | Oct
Nov | N/A | 0 | 0 | N/A | 0 | 0.01 |  | Nov
Dec | N/A | 0 | 0 | N/A | 0 | 0.01 |  | Dec
[8 empty] | Annual | #DIV/0! | 0 | #DIV/0! | 0
[7 empty] | 2020 | mg/Nm3 | Monthly 1/2 hourly mean | Monthly 1/2 hourly maximum | Monthly daily mean | Monthly daily maximum
[7 empty] | A2 | Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
[8 empty] | Annual | #DIV/0! | 0 | #DIV/0! | 0
[7 empty] | 2020 | mg/Nm3 | Monthly 1/2 hourly mean | Monthly 1/2 hourly maximum | Monthly daily mean | Monthly daily maximum
[7 empty] | A3 | Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Comments : | [7 empty] | Dec
An indicated ELV value of zero in the table above means that no ammonia limit is set in the permit. | [7 empty] | Annual | #DIV/0! | 0 | #DIV/0! | 0
[7 empty] | 2020 | mg/Nm3 | Monthly 1/2 hourly mean | Monthly 1/2 hourly maximum | Monthly daily mean | Monthly daily maximum
[7 empty] | A4 | Jan
|  | 2021-01-19 | [5 empty] | Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
[8 empty] | Annual | #DIV/0! | 0 | #DIV/0! | 0
[7 empty] | 2020 | mg/Nm3 | Monthly 1/2 hourly mean | Monthly 1/2 hourly maximum | Monthly daily mean | Monthly daily maximum
[7 empty] | A5 | Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
[8 empty] | Annual | #DIV/0! | 0 | #DIV/0! | 0